Original Article — DRAFT: every red [TBD] must be filled from experiment outputs before submission

BrainHybridNet: A Lightweight Hybrid CNN–Transformer with Self-Supervised Pre-training and Uncertainty Estimation for Joint Brain Tumor Segmentation, Detection and Grading from Multi-Modal MRI

Debobrato Biswas1*, [TBD: co-author]1, [TBD: co-author]2

1Department of Computer Science and Engineering, Daffodil International University, Dhaka, Bangladesh

2[TBD: affiliation]

*Corresponding author. E-mail: [TBD: institutional e-mail]

Abstract

Purpose: Automated analysis of brain tumors in multi-modal magnetic resonance imaging (MRI) usually relies on separate models for segmentation, detection and grading, many of which are large and report no measure of confidence.

Methods: We propose BrainHybridNet, a lightweight hybrid convolutional neural network (CNN)–vision transformer that segments the whole tumor, tumor core and enhancing tumor in 3D, detects tumor presence and predicts low- versus high-grade glioma in a single forward pass. A sequence-attention block and a two-stage CNN stem provide high-resolution features and skip connections; a four-layer transformer models long-range context. The encoder is pre-trained with 3D masked image modeling, Monte Carlo dropout provides voxel-wise epistemic uncertainty, and transformer attention provides spatial explanations. All baselines (3D U-Net, SegResNet, UNETR, SwinUNETR and nnU-Net) are re-trained on identical subject-level splits of BraTS 2021 (1,251 subjects).

Results: On the held-out test set BrainHybridNet reaches Dice scores of [TBD] (whole tumor), [TBD] (tumor core) and [TBD] (enhancing tumor) with [TBD] million parameters and [TBD] ms per 1283 crop. [TBD: grading, calibration and external-validation results].

Conclusion: [TBD: one sentence on the measured accuracy–efficiency–calibration trade-off].

Keywords Brain tumor segmentation · Multi-modal MRI · Hybrid CNN–transformer · Masked image modeling · Uncertainty estimation · Glioma grading

1 Introduction

Brain tumors are among the most aggressive forms of cancer: glioblastoma (WHO grade 4) has a median overall survival of 14.6 months under standard-of-care treatment [1]. About 308,000 new cases of brain and central nervous system tumors were estimated worldwide in 2020 [2]. Accurate delineation of the tumor sub-regions—whole tumor (WT), tumor core (TC) and enhancing tumor (ET)—is a prerequisite for surgical planning, radiotherapy targeting and response monitoring [3].

Multi-modal MRI is the standard for non-invasive brain tumor characterization. T1-weighted images show anatomy, contrast-enhanced T1 (T1ce) shows the enhancing tumor, T2-weighted images show peritumoral edema and FLAIR is sensitive to infiltrative tumor [4]. Manual delineation takes a long time per case and varies between raters (Dice agreement of 74–85%) [3], which motivates automated methods.

CNNs, particularly U-Net and its 3D variants, have dominated medical image segmentation since 2015 [5, 6]. Their local receptive fields limit the modeling of long-range spatial dependencies, which matter for large, irregular tumors [7]. Transformers [8] attend to all positions at once, but pure vision transformers need large training sets and are expensive for 3D volumes [7].

Existing methods leave several gaps:

- Single-task designs: segmentation and grading are usually solved by separate models [9].

- Data requirements: transformer models need many labeled scans [10].

- Missing uncertainty: most segmentation methods report point predictions only [11].

- Limited interpretability: clinical use requires explanations of model decisions [12].

- Computational cost: models with tens of millions of parameters are hard to deploy on standard workstations [13].

We propose BrainHybridNet, which combines a CNN stem (local features) and a transformer bottleneck (global context) with self-supervised pre-training, uncertainty estimation and multi-task heads.

1.1 Contributions

- Lightweight hybrid architecture. A ResNet-style CNN stem extracts local features and provides high-resolution skip connections; a vision-transformer bottleneck captures volumetric long-range dependencies with [TBD] million parameters.

- 3D masked image modeling on multi-modal MRI. Following MAE [14] and SimMIM [15], 75% of 3D patches are masked and reconstructed before fine-tuning. Unlike self pre-training of a plain ViT on the target data [16], masking is applied before the CNN stem of a hybrid encoder, and its effect on accuracy and label efficiency is measured (Section 6).

- Joint multi-task learning. One model outputs tumor presence, WT/TC/ET masks and an LGG/HGG grade.

- Uncertainty via Monte Carlo dropout. T stochastic passes give a voxel-wise epistemic uncertainty map; we test whether it tracks segmentation error and how it affects calibration.

- Attention-based explanations. Attention weights from the last transformer block give a saliency map, evaluated quantitatively against reference masks.

- Reproducible comparison. All baselines are re-trained on identical splits and preprocessing; results include confidence intervals and paired significance tests; code, splits and weights are released.

Section 2 reviews related work, Section 3 describes BrainHybridNet, Section 4 the experimental setup, Section 5 the results, Section 6 the ablations, Section 7 the discussion and Section 8 concludes.

2 Related work

2.1 CNN-based brain tumor segmentation

U-Net [5] established encoder–decoder segmentation with skip connections, and 3D U-Net [6] extended it to volumes. SegResNet [17], winner of BraTS 2018, uses a residual encoder with variational auto-encoder regularization. MONAI [18] provides optimized implementations of these models. nnU-Net [19] configures U-Net pipelines automatically and remains a strong baseline.

2.2 Transformer-based methods

The vision transformer [7] matches CNNs when trained at scale. TransUNet [10] uses a transformer bottleneck in a U-Net. The Swin transformer [20] computes attention in shifted windows; SwinUNETR [21] applies it to 3D brain tumor segmentation, UNETR [22] uses a pure transformer encoder, and TransBTS [23] combines a 3D CNN encoder with a transformer for BraTS. These models need substantial GPU memory.

2.3 Hybrid CNN–transformer architectures

MedT [24] uses gated axial attention, UCTransNet [25] replaces skip connections with channel transformers and D-Former [26] uses dilated attention for 3D segmentation. BrainHybridNet combines an explicit CNN stem, a small transformer with learned 3D positional embeddings and a U-Net decoder in one multi-task model.

2.4 Self-supervised learning in medical imaging

Contrastive methods such as SimCLR [27] and DINO [28] have been adapted to medical images [29]. Masked autoencoders [14] learn by reconstructing a large fraction (75%) of masked patches. Zhou et al. [16] showed that MAE self pre-training on the target dataset improves segmentation, including BraTS. Swin UNETR pre-training [21] combines several proxy tasks on CT.

2.5 Uncertainty estimation

Uncertainty in deep learning has been approached with Bayesian methods [30], deep ensembles [31] and Monte Carlo dropout [11]. Nair et al. [32] found that uncertain regions in multiple-sclerosis lesion segmentation coincide with errors, and Roy et al. [33] used Monte Carlo sampling for segmentation quality control.

2.6 Glioma grading

The 2021 WHO classification combines histological and molecular markers [34]. MRI-based grading and molecular prediction have been studied with radiomics [35] and CNNs [36], typically as pipelines separate from segmentation.

3 Method

3.1 Overview

Fig. 1 shows BrainHybridNet. It consists of (1) a sequence-attention block and CNN stem, (2) a transformer encoder on the CNN features, (3) a U-Net decoder fusing the CNN skip features and (4) task heads for segmentation, detection and grading. An optional masked-image-modeling stage pre-trains the encoder.

Fig. 1 BrainHybridNet. A squeeze-and-excitation block weights the four MRI sequences; a two-stage CNN stem produces skip features c1 and c2; 512 tokens from 83 patches of c2 pass through four transformer blocks. Mean-pooled tokens feed the detection and grade heads; the decoder upsamples the token grid and fuses c2 and c1 before the WT/TC/ET segmentation head. Monte Carlo dropout gives an uncertainty map and last-block attention a saliency map.

3.2 Input preprocessing

The input is X ∈ ℝB×4×D×H×W. BraTS 2021 volumes are skull-stripped, co-registered to the SRI24 atlas and resampled to 1 mm isotropic resolution [37], so no further registration is applied. Each sequence is z-score normalized over non-zero (brain) voxels and cropped to the brain bounding box. Training uses random 1283 crops; with probability 0.66 a crop is centered on a random tumor voxel. Inference on whole volumes uses sliding windows of the same size with 50% overlap and Gaussian weighting.

3.3 Sequence attention and CNN stem

A squeeze-and-excitation block re-weights the four sequences. The CNN stem has two stages without max-pooling:

c1 = ReLU(BN(Conv3D3,1(X))) ∈ ℝB×32×D×H×W	(1)

c2 = ReLU(BN(Conv3D3,2(c1))) ∈ ℝB×64×D/2×H/2×W/2	(2)

where the subscripts give kernel size and stride. c1 and c2 are the decoder’s skip connections.

3.4 Transformer encoder

A strided convolution splits c2 into non-overlapping 83 patches, giving N = (D/16)(H/16)(W/16) tokens of dimension E = 128 (N = 512 for a 1283 crop), to which learned positional embeddings P ∈ ℝ1×N×E are added:

z0 = Flatten(Conv3D8,8(c2))⊤ + P	(3)

L = 4 pre-norm transformer blocks [8, 38] with 4 heads, MLP ratio 4, GELU [39] and dropout 0.1 follow:

z′l = zl + MHSA(LN(zl)),   zl+1 = z′l + MLP(LN(z′l))	(4)

and a final layer normalization gives zL ∈ ℝB×N×E.

3.5 Masked image modeling pre-training

Pre-training follows SimMIM [15] in 3D. A fraction ρ = 0.75 of token positions is masked at random. The corresponding 163 input regions are zeroed before the CNN stem, so masked content cannot leak through the convolutions, and masked tokens are replaced by a learned mask embedding. A linear head maps each output token to the 4 × 163 voxels of its region. The loss is the mean squared error to per-patch normalized targets over the masked set ℳ:

ℒMIM = (1/|ℳ|) Σi∈ℳ ‖x̂i − norm(xi)‖2 / (4·163)	(5)

Pre-training uses only the training folds of each cross-validation split; the reconstruction head is discarded before fine-tuning.

3.6 Decoder

The tokens are reshaped to zvol ∈ ℝB×E×D/16×H/16×W/16 and passed through 3D dropout (0.1). Three upsampling stages (stride-2 transposed convolution followed by a residual squeeze-and-excitation block, ResSE) restore the resolution of c2, which is concatenated before the third ResSE block; a fourth stage upsamples to full resolution and fuses c1:

u = ResSE([Up(Up(Up(zvol))), c2]) ∈ ℝB×64×D/2×H/2×W/2	(6)

d = ResSE([Up(u), c1]) ∈ ℝB×32×D×H×W	(7)

3.7 Task heads

Segmentation: a 1×1×1 convolution gives three channels (WT, TC, ET), each with a sigmoid. Detection: mean-pooled tokens z̄ = mean(zL) feed Linear(E,128) → ReLU → Dropout(0.1) → Linear(128,2). BraTS has no tumor-free subjects, so detection is trained at crop level: a crop is positive if it contains at least 100 whole-tumor voxels. Grading: Linear(E,64) → ReLU → Dropout(0.1) → Linear(64,2) predicts LGG versus HGG; subjects without a grade label are ignored by this loss.

3.8 Uncertainty estimation

At inference, batch normalization stays in evaluation mode and dropout stays active [11]. T = 20 stochastic sliding-window passes give

μ = (1/T) Σt=1T σ(Ŷ(t)),   σ2 = (1/T) Σt=1T (σ(Ŷ(t)) − μ)2	(8)

where σ2 is the voxel-wise epistemic uncertainty map.

3.9 Training objective and optimization

ℒ = λ1ℒseg + λ2ℒdet + λ3ℒgrade,   λ1 = 0.6, λ2 = λ3 = 0.2	(9)

ℒdet and ℒgrade are cross-entropy losses. ℒseg is the Tversky loss [40], averaged over the three region channels:

TL = 1 − (TP + ε) / (TP + α·FP + β·FN + ε),   α = 0.3, β = 0.7	(10)

which penalizes false negatives more than false positives. The loss weights were fixed before training; their sensitivity is reported in Section 6.

Optimization uses AdamW [41] (learning rate 10−4, weight decay 10−4, gradient clipping at norm 1.0), 10 warm-up epochs followed by cosine decay [42], 300 fine-tuning epochs and 100 pre-training epochs (learning rate 1.5 × 10−4), batch size 2 with mixed precision. Augmentation: random flips along each axis (p = 0.5), per-sequence intensity scaling (0.9–1.1) and shift (±0.1), Gaussian noise (σ = 0.01, p = 0.2). The checkpoint with the highest mean validation Dice of each fold is kept.

4 Experimental setup

4.1 Data

BraTS 2021 [37]: 1,251 subjects with expert segmentations and four co-registered sequences (240 × 240 × 155 voxels at 1 mm3). Labels are background (0), necrotic core (1), edema (2) and enhancing tumor (4); WT = 1 ∪ 2 ∪ 4, TC = 1 ∪ 4, ET = 4.

Splits. A fixed subject-level hold-out test set of 15% of subjects ([TBD: n] subjects) is used once, for the final results. The remaining subjects form 5 cross-validation folds shared by every model, baseline and ablation; the split file is released with the code.

Grading data. BraTS 2021 has no histological grades. Grading is trained and evaluated on UCSF-PDGM [43] (WHO grade for preoperative diffuse gliomas) with its own subject-level split [TBD: confirm], which also serves as an external segmentation test set without retraining.

4.2 Metrics

Segmentation: Dice and 95th-percentile Hausdorff distance (HD95, mm) per region, sensitivity and specificity. Following BraTS, Dice = 1 and HD95 = 0 when prediction and reference are both empty, and HD95 = 373.13 mm when only one is empty. Detection and grading: AUC, accuracy, balanced accuracy, sensitivity, specificity. Calibration and uncertainty: voxel-level expected calibration error (15 bins) and reliability diagrams [44]; Spearman correlation between case-level mean uncertainty and 1 − Dice. Efficiency: parameters, multiply–accumulate operations, median latency per 1283 crop and peak GPU memory on [TBD: GPU]. Statistics: mean ± standard deviation over cases and 95% bootstrap confidence intervals (10,000 resamples); paired Wilcoxon signed-rank tests against the strongest baseline with Holm correction. Reporting follows the CLAIM checklist [45] (Supplementary Material).

4.3 Baselines and implementation

All baselines—3D U-Net [6], SegResNet [17], UNETR [22], SwinUNETR [21] (MONAI implementations [18]) and nnU-Net v2 [19] (default pipeline)—are re-trained by us on the same folds with the same crops, preprocessing, augmentation, loss and schedule; no numbers are copied from other publications. Models are implemented in PyTorch [46] with PyTorch Lightning [47]. Experiments ran on [TBD: hardware]; pre-training took [TBD] h and fine-tuning [TBD] h per fold.

5 Results

5.1 Segmentation

Table 1 lists the test-set results and Table 2 the cross-validation results. [TBD: describe the measured differences only].

Table 1 Segmentation on the BraTS 2021 hold-out test set ([TBD] subjects), mean ± SD. Best value per column in bold

| Method | Dice ↑ |  |  | HD95 (mm) ↓ |  |  | Params (M) | GMACs | Latency (ms) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WT | TC | ET | WT | TC | ET |  |  |  |
| 3D U-Net [6] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| SegResNet [17] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| UNETR [22] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| SwinUNETR [21] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| nnU-Net v2 [19] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| BrainHybridNet (ours) | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |

Significance versus the strongest baseline (Wilcoxon, Holm-corrected): [TBD].

Table 2 Five-fold cross-validation, mean ± SD of fold means (Dice)

| Method | WT | TC | ET |
| --- | --- | --- | --- |
| Best baseline ([TBD]) | [TBD] | [TBD] | [TBD] |
| BrainHybridNet | [TBD] | [TBD] | [TBD] |

5.2 Detection and grading

Table 3 Crop-level tumor detection (BraTS test set) and LGG/HGG grading (UCSF-PDGM test split)

|  | Det. AUC | Sens. | Spec. | Grade AUC | Grade bal. acc. |
| --- | --- | --- | --- | --- | --- |
| BrainHybridNet | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |

5.3 Calibration and uncertainty

[TBD: voxel ECE with and without Monte Carlo dropout and for the baselines; reliability diagram (Fig. 2); Spearman ρ between case-level uncertainty and 1 − Dice with p-value].

5.4 External validation

[TBD: segmentation on UCSF-PDGM without retraining].

5.5 Qualitative results

[TBD: Fig. 3 – predictions, references, uncertainty and attention maps for representative successes and failures].

6 Ablation study

Table 4 Ablations, 5-fold cross-validation on the development set (Dice)

| Configuration | WT | TC | ET | Params (M) |
| --- | --- | --- | --- | --- |
| CNN only (no transformer) | [TBD] | [TBD] | [TBD] | [TBD] |
| Transformer path only (no CNN skips) | [TBD] | [TBD] | [TBD] | [TBD] |
| No sequence attention | [TBD] | [TBD] | [TBD] | [TBD] |
| Segmentation only (no multi-task) | [TBD] | [TBD] | [TBD] | [TBD] |
| No self-supervised pre-training | [TBD] | [TBD] | [TBD] | [TBD] |
| Full BrainHybridNet | [TBD] | [TBD] | [TBD] | [TBD] |

Configuration files: abl_cnn_only, abl_no_skips, abl_no_se, abl_no_multitask, hybrid (with and without pre-training).

[TBD: masking ratio (0.25/0.5/0.75/0.9), number of transformer layers (2/4/6/8) and loss-weight sensitivity, three seeds each].

7 Discussion

7.1 Clinical implications

A model that segments, detects and grades in one pass could shorten reading time if its accuracy matches dedicated models; the uncertainty map is intended to direct review to ambiguous regions, which requires the correlation shown in Section 5. [TBD: interpret the measured results].

7.2 Pre-training and data efficiency

[TBD: effect of masked image modeling, including reduced-label experiments with 10% and 25% of labeled subjects].

7.3 Explainability

[TBD: overlap or pointing-game evaluation of attention maps against reference masks].

7.4 Limitations

- External validation is limited to [TBD].

- WHO CNS5 classification uses IDH and other molecular markers [34]; the grading head uses imaging only.

- Pre-training uses only BraTS training folds; larger unlabeled corpora may help.

- BraTS has no tumor-free subjects, so detection is evaluated at crop level, not on healthy scans.

- BraTS labels have known inter-rater variability [3].

7.5 Future work

Federated training across hospitals, longitudinal response assessment, pediatric tumors, robustness to missing sequences, fusion with molecular data and a prospective reader study.

8 Conclusion

We presented BrainHybridNet, a lightweight hybrid CNN–transformer for joint brain tumor segmentation, detection and grading from multi-modal MRI, with masked image modeling pre-training and Monte Carlo dropout uncertainty. [TBD: one sentence summarizing measured accuracy, efficiency and calibration relative to the baselines]. Code, configurations, splits and weights are released to reproduce every reported number.

Supplementary information

CLAIM checklist; per-fold results; additional qualitative examples. [TBD: confirm contents].

Acknowledgements

[TBD: acknowledgements, or remove this heading].

Declarations

- Funding: This research did not receive any specific grant from funding agencies in the public, commercial or not-for-profit sectors. [TBD: confirm].

- Competing interests: The authors declare no competing interests.

- Ethics approval and consent to participate: Not applicable. This study uses publicly available, de-identified datasets (BraTS 2021, UCSF-PDGM) under their data-use terms; no new data were collected.

- Consent for publication: Not applicable.

- Data availability: BraTS 2021 is available at https://www.synapse.org/#!Synapse:syn27046444. UCSF-PDGM is available through The Cancer Imaging Archive under its data-use agreement [43].

- Materials availability: Not applicable.

- Code availability: Code, configuration files, data splits and trained weights are available at https://github.com/Debobrato06/BrainTumorDetection [TBD: release tag / DOI, e.g. Zenodo].

- Author contribution: D.B.: conceptualization, methodology, software, validation, writing – original draft. [TBD: co-author initials]: writing – review and editing, visualization.

References

[1]	Stupp, R., Mason, W.P., van den Bent, M.J., et al.: Radiotherapy plus concomitant and adjuvant temozolomide for glioblastoma. New England Journal of Medicine 352(10), 987–996 (2005). https://doi.org/10.1056/NEJMoa043330

[2]	Sung, H., Ferlay, J., Siegel, R.L., et al.: Global cancer statistics 2020: GLOBOCAN estimates of incidence and mortality worldwide for 36 cancers in 185 countries. CA: A Cancer Journal for Clinicians 71(3), 209–249 (2021). https://doi.org/10.3322/caac.21660

[3]	Menze, B.H., Jakab, A., Bauer, S., et al.: The multimodal brain tumor image segmentation benchmark (BRATS). IEEE Transactions on Medical Imaging 34(10), 1993–2024 (2015). https://doi.org/10.1109/TMI.2014.2377694

[4]	Gordillo, N., Montseny, E., Sobrevilla, P.: State of the art survey on MRI brain tumor segmentation. Magnetic Resonance Imaging 31(8), 1426–1438 (2013). https://doi.org/10.1016/j.mri.2013.05.002

[5]	Ronneberger, O., Fischer, P., Brox, T.: U-Net: Convolutional networks for biomedical image segmentation. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2015. LNCS, vol. 9351, pp. 234–241. Springer (2015). https://doi.org/10.1007/978-3-319-24574-4_28

[6]	Çiçek, Ö., Abdulkadir, A., Lienkamp, S.S., Brox, T., Ronneberger, O.: 3D U-Net: Learning dense volumetric segmentation from sparse annotation. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2016. LNCS, vol. 9901, pp. 424–432. Springer (2016). https://doi.org/10.1007/978-3-319-46723-8_49

[7]	Dosovitskiy, A., Beyer, L., Kolesnikov, A., et al.: An image is worth 16x16 words: Transformers for image recognition at scale. In: International Conference on Learning Representations (ICLR) (2021). arXiv:2010.11929

[8]	Vaswani, A., Shazeer, N., Parmar, N., et al.: Attention is all you need. In: Advances in Neural Information Processing Systems (NeurIPS), vol. 30 (2017). arXiv:1706.03762

[9]	Havaei, M., Davy, A., Warde-Farley, D., et al.: Brain tumor segmentation with deep neural networks. Medical Image Analysis 35, 18–31 (2017). https://doi.org/10.1016/j.media.2016.05.004

[10]	Chen, J., Lu, Y., Yu, Q., et al.: TransUNet: Transformers make strong encoders for medical image segmentation. (2021). arXiv:2102.04306

[11]	Gal, Y., Ghahramani, Z.: Dropout as a Bayesian approximation: Representing model uncertainty in deep learning. In: Proceedings of the 33rd International Conference on Machine Learning (ICML), pp. 1050–1059 (2016). arXiv:1506.02142

[12]	Litjens, G., Kooi, T., Bejnordi, B.E., et al.: A survey on deep learning in medical image analysis. Medical Image Analysis 42, 60–88 (2017). https://doi.org/10.1016/j.media.2017.07.005

[13]	Ker, J., Wang, L., Rao, J., Lim, T.: Deep learning applications in medical image analysis. IEEE Access 6, 9375–9389 (2018). https://doi.org/10.1109/ACCESS.2017.2788044

[14]	He, K., Chen, X., Xie, S., et al.: Masked autoencoders are scalable vision learners. In: Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 16000–16009 (2022). arXiv:2111.06377

[15]	Xie, Z., Zhang, Z., Cao, Y., et al.: SimMIM: A simple framework for masked image modeling. In: Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 9653–9663 (2022). arXiv:2111.09886

[16]	Zhou, L., Liu, H., Bae, J., He, J., Samaras, D., Prasanna, P.: Self pre-training with masked autoencoders for medical image classification and segmentation. In: IEEE 20th International Symposium on Biomedical Imaging (ISBI) (2023). arXiv:2203.05573

[17]	Myronenko, A.: 3D MRI brain tumor segmentation using autoencoder regularization. In: Brainlesion: Glioma, Multiple Sclerosis, Stroke and Traumatic Brain Injuries (BrainLes 2018). LNCS, vol. 11384, pp. 311–320. Springer (2019). https://doi.org/10.1007/978-3-030-11726-9_28

[18]	Cardoso, M.J., Li, W., Brown, R., et al.: MONAI: An open-source framework for deep learning in healthcare. (2022). arXiv:2211.02701

[19]	Isensee, F., Jaeger, P.F., Kohl, S.A.A., Petersen, J., Maier-Hein, K.H.: nnU-Net: a self-configuring method for deep learning-based biomedical image segmentation. Nature Methods 18(2), 203–211 (2021). https://doi.org/10.1038/s41592-020-01008-z

[20]	Liu, Z., Lin, Y., Cao, Y., et al.: Swin Transformer: Hierarchical vision transformer using shifted windows. In: Proceedings of the IEEE/CVF International Conference on Computer Vision (ICCV), pp. 10012–10022 (2021). arXiv:2103.14030

[21]	Tang, Y., Yang, D., Li, W., et al.: Self-supervised pre-training of Swin transformers for 3D medical image analysis. In: Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 20730–20740 (2022). arXiv:2111.14791

[22]	Hatamizadeh, A., Tang, Y., Nath, V., et al.: UNETR: Transformers for 3D medical image segmentation. In: Proceedings of the IEEE/CVF Winter Conference on Applications of Computer Vision (WACV), pp. 574–584 (2022). arXiv:2103.10504

[23]	Wang, W., Chen, C., Ding, M., et al.: TransBTS: Multimodal brain tumor segmentation using transformer. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2021. LNCS, vol. 12901, pp. 109–119. Springer (2021). https://doi.org/10.1007/978-3-030-87193-2_11

[24]	Valanarasu, J.M.J., Oza, P., Hacihaliloglu, I., Patel, V.M.: Medical Transformer: Gated axial-attention for medical image segmentation. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2021. LNCS, vol. 12901, pp. 36–46. Springer (2021). https://doi.org/10.1007/978-3-030-87193-2_4

[25]	Wang, H., Cao, P., Wang, J., Zaiane, O.R.: UCTransNet: Rethinking the skip connections in U-Net from a channel-wise perspective with transformer. In: Proceedings of the AAAI Conference on Artificial Intelligence, vol. 36, pp. 2441–2449 (2022). https://doi.org/10.1609/aaai.v36i3.20144

[26]	Wu, Y., Liao, K., Chen, J., Wang, J., Chen, D.Z., Gao, H., Wu, J.: D-Former: A U-shaped dilated transformer for 3D medical image segmentation. Neural Computing and Applications 35, 1931–1944 (2023). https://doi.org/10.1007/s00521-022-07859-1

[27]	Chen, T., Kornblith, S., Norouzi, M., Hinton, G.: A simple framework for contrastive learning of visual representations. In: Proceedings of the 37th International Conference on Machine Learning (ICML), pp. 1597–1607 (2020). arXiv:2002.05709

[28]	Caron, M., Touvron, H., Misra, I., et al.: Emerging properties in self-supervised vision transformers. In: Proceedings of the IEEE/CVF International Conference on Computer Vision (ICCV), pp. 9650–9660 (2021). arXiv:2104.14294

[29]	Sowrirajan, H., Yang, J., Ng, A.Y., Rajpurkar, P.: MoCo-CXR: MoCo pretraining improves representation and transferability of chest X-ray models. (2021). arXiv:2010.05352

[30]	Neal, R.M.: Bayesian Learning for Neural Networks. Lecture Notes in Statistics, vol. 118. Springer, New York (1996). https://doi.org/10.1007/978-1-4612-0745-0

[31]	Lakshminarayanan, B., Pritzel, A., Blundell, C.: Simple and scalable predictive uncertainty estimation using deep ensembles. In: Advances in Neural Information Processing Systems (NeurIPS), vol. 30 (2017). arXiv:1612.01474

[32]	Nair, T., Precup, D., Arnold, D.L., Arbel, T.: Exploring uncertainty measures in deep networks for multiple sclerosis lesion detection and segmentation. Medical Image Analysis 59, 101557 (2020). https://doi.org/10.1016/j.media.2019.101557

[33]	Roy, A.G., Conjeti, S., Navab, N., Wachinger, C.: Inherent brain segmentation quality control from fully ConvNet Monte Carlo sampling. In: Medical Image Computing and Computer-Assisted Intervention – MICCAI 2018. LNCS, vol. 11070, pp. 664–672. Springer (2018). https://doi.org/10.1007/978-3-030-00928-1_75

[34]	Louis, D.N., Perry, A., Wesseling, P., et al.: The 2021 WHO classification of tumors of the central nervous system: a summary. Neuro-Oncology 23(8), 1231–1251 (2021). https://doi.org/10.1093/neuonc/noab106

[35]	Zhou, M., Scott, J., Chaudhury, B., et al.: Radiomics in brain tumor: image assessment, quantitative feature descriptors, and machine-learning approaches. American Journal of Neuroradiology 39(2), 208–216 (2018). https://doi.org/10.3174/ajnr.A5391

[36]	Chang, K., Bai, H.X., Zhou, H., et al.: Residual convolutional neural network for the determination of IDH status in low- and high-grade gliomas from MR imaging. Clinical Cancer Research 24(5), 1073–1081 (2018). https://doi.org/10.1158/1078-0432.CCR-17-2236

[37]	Baid, U., Ghodasara, S., Mohan, S., et al.: The RSNA-ASNR-MICCAI BraTS 2021 benchmark on brain tumor segmentation and radiogenomic classification. (2021). arXiv:2107.02314

[38]	Ba, J.L., Kiros, J.R., Hinton, G.E.: Layer normalization. (2016). arXiv:1607.06450

[39]	Hendrycks, D., Gimpel, K.: Gaussian error linear units (GELUs). (2016). arXiv:1606.08415

[40]	Salehi, S.S.M., Erdogmus, D., Gholipour, A.: Tversky loss function for image segmentation using 3D fully convolutional deep networks. In: Machine Learning in Medical Imaging (MLMI 2017). LNCS, vol. 10541, pp. 379–387. Springer (2017). https://doi.org/10.1007/978-3-319-67389-9_44

[41]	Loshchilov, I., Hutter, F.: Decoupled weight decay regularization. In: International Conference on Learning Representations (ICLR) (2019). arXiv:1711.05101

[42]	Loshchilov, I., Hutter, F.: SGDR: Stochastic gradient descent with warm restarts. In: International Conference on Learning Representations (ICLR) (2017). arXiv:1608.03983

[43]	Calabrese, E., Villanueva-Meyer, J.E., Rudie, J.D., et al.: The University of California San Francisco preoperative diffuse glioma MRI dataset. Radiology: Artificial Intelligence 4(6), e220058 (2022). https://doi.org/10.1148/ryai.220058

[44]	Guo, C., Pleiss, G., Sun, Y., Weinberger, K.Q.: On calibration of modern neural networks. In: Proceedings of the 34th International Conference on Machine Learning (ICML), pp. 1321–1330 (2017). arXiv:1706.04599

[45]	Mongan, J., Moy, L., Kahn, C.E.: Checklist for Artificial Intelligence in Medical Imaging (CLAIM): a guide for authors and reviewers. Radiology: Artificial Intelligence 2(2), e200029 (2020). https://doi.org/10.1148/ryai.2020200029

[46]	Paszke, A., Gross, S., Massa, F., et al.: PyTorch: An imperative style, high-performance deep learning library. In: Advances in Neural Information Processing Systems (NeurIPS), vol. 32 (2019). arXiv:1912.01703

[47]	Falcon, W., The PyTorch Lightning team: PyTorch Lightning. (2019). https://github.com/Lightning-AI/pytorch-lightning