DRAFT — every red [TBD] must be filled from experiment outputs before submission

BrainHybridNet: A Lightweight Hybrid CNN–Transformer for Joint Brain Tumor Segmentation, Detection and Grading with Self-Supervised Pre-training and Uncertainty Estimation

Debobrato Biswas, [TBD: IEEE membership or remove], [TBD: co-author names]

Abstract—Objective: Automated brain tumor analysis from magnetic resonance images usually requires separate models for segmentation, detection and grading, and most report no measure of confidence. We present a single lightweight model that performs all three tasks and estimates its own uncertainty. Methods: The proposed network combines a two-stage convolutional stem, which preserves high-resolution detail, with a four-layer transformer that models long-range volumetric context. In one forward pass it segments the whole tumor, tumor core and enhancing tumor, detects tumor presence and predicts low- versus high-grade glioma. The encoder is pre-trained by reconstructing masked regions of unlabeled scans; repeated stochastic inference with dropout yields a voxel-wise uncertainty map, and transformer attention provides spatial explanations. Five established networks were re-trained on identical patient-level splits of the 2021 Brain Tumor Segmentation challenge data (1,251 patients) for comparison. Results: On the held-out test set the model reaches Dice scores of [TBD], [TBD] and [TBD] for whole tumor, tumor core and enhancing tumor, with [TBD] million parameters and [TBD] milliseconds per volume crop; [TBD: grading area under the curve, calibration error and external-validation result]. Conclusion: [TBD: measured trade-off between accuracy, model size and calibration]. Significance: A compact model that segments, detects and grades brain tumors while flagging uncertain regions can support radiologist review on standard clinical hardware.

Index Terms—Brain tumor segmentation, glioma grading, magnetic resonance imaging, masked image modeling, transformer, uncertainty estimation.

D. Biswas is with the Department of Computer Science and Engineering, Daffodil International University, Dhaka, Bangladesh (e-mail: [TBD: institutional e-mail]). [TBD: co-author affiliations]. Manuscript received [TBD].

I. INTRODUCTION

Glioblastoma (WHO grade 4) has a median overall survival of 14.6 months under standard treatment [1], and about 308,000 new brain and central nervous system tumors were estimated worldwide in 2020 [2]. Delineating the whole tumor (WT), tumor core (TC) and enhancing tumor (ET) on multi-modal MRI (T1, contrast-enhanced T1ce, T2, FLAIR) [3] guides surgery, radiotherapy and response assessment, but manual delineation is slow and raters agree only to Dice 0.74–0.85 [4].

CNNs such as 3D U-Net [5, 6] capture local structure but not long-range context; transformers [7, 8] do, at high data and compute cost. Hybrid designs [9–11] combine both, but most solve one task, give point predictions only [12] and have tens of millions of parameters [13].

We propose BrainHybridNet. Our contributions are:

- a lightweight hybrid encoder (CNN stem with high-resolution skips, four-layer transformer bottleneck) with [TBD] million parameters;

- 3D masked image modeling applied before the CNN stem of a hybrid encoder, extending ViT self pre-training on target data [14], with measured effects on accuracy and label efficiency;

- joint segmentation, detection and LGG/HGG grading in one pass;

- Monte Carlo dropout uncertainty, evaluated for calibration and correlation with error, and attention maps evaluated against reference masks;

- a reproducible comparison with five re-trained baselines on identical splits, with confidence intervals, paired tests and external validation; code, splits and weights are public.

II. RELATED WORK

Segmentation networks. 3D U-Net [6], SegResNet [15] and the self-configuring nnU-Net [16] are strong CNN baselines. UNETR [17] and SwinUNETR [18, 19] use transformer encoders; TransBTS [10], MedT [20], UCTransNet [21] and D-Former [11] mix convolution and attention.

Self-supervised learning. Contrastive learning [22–24] and masked image modeling [25, 26] reduce label needs; MAE self pre-training improves BraTS segmentation [14].

Uncertainty. Bayesian networks [27], deep ensembles [28] and Monte Carlo dropout [12] estimate epistemic uncertainty; in neuroimaging it has been linked to errors [29] and used for quality control [30].

Grading. WHO CNS5 grading uses histology and molecular markers [31]; imaging-based grading uses radiomics [32] or CNNs [33], usually separate from segmentation.

III. METHOD

Fig. 1. BrainHybridNet. Sequence attention and a two-stage CNN stem give skip features c1, c2; 512 tokens from 83 patches of c2 pass four transformer blocks. Pooled tokens feed detection and grade heads; the decoder fuses c2 and c1 before the WT/TC/ET head. Monte Carlo dropout gives uncertainty, last-block attention a saliency map.

A. Architecture

Fig. 1 shows the network. Input X ∈ ℝB×4×D×H×W (four z-scored sequences, 1283 crops) is re-weighted per sequence by squeeze-and-excitation and passed through two stem stages: c1 = ReLU(BN(Conv3,1(X))) (32 channels, full resolution) and c2 = ReLU(BN(Conv3,2(c1))) (64 channels, half resolution). A strided convolution turns 83 patches of c2 into N = 512 tokens of size E = 128 with learned positional embeddings P, followed by L = 4 pre-norm transformer blocks (4 heads, MLP ratio 4, GELU [34], dropout 0.1) [35]:

z′l = zl + MHSA(LN(zl)),  zl+1 = z′l + MLP(LN(z′l))	(1)

The decoder reshapes tokens to an 83 grid, applies 3D dropout (0.1), and upsamples four times with transposed convolutions and residual squeeze-and-excitation (ResSE) blocks, concatenating c2 and c1 at matching resolutions. Heads: a 1×1×1 convolution with sigmoids for WT/TC/ET; detection Linear(E,128) → ReLU → Linear(128,2) and grading Linear(E,64) → ReLU → Linear(64,2) on mean-pooled tokens. As BraTS has no tumor-free subjects, detection is trained per crop (positive if ≥100 WT voxels); subjects without grade labels are ignored by the grading loss.

B. Masked image modeling

Following SimMIM [26] in 3D, 75% of token positions are masked; their 163 input regions are zeroed before the stem (so nothing leaks through convolutions) and the tokens replaced by a learned mask embedding. A linear head reconstructs the 4×163 voxels of each masked region; the loss is the mean squared error to per-patch normalized targets over masked patches only. Pre-training uses only the training folds.

C. Uncertainty

With batch normalization frozen and dropout active [12], T = 20 sliding-window passes give the mean μ and voxel-wise variance σ2 = (1/T) Σt (σ(Ŷ(t)) − μ)2.

D. Training

ℒ = 0.6 ℒseg + 0.2 ℒdet + 0.2 ℒgrade, with cross-entropy for detection and grading and the Tversky loss [36] (α = 0.3, β = 0.7) per region for segmentation. AdamW [37] (learning rate 10−4, weight decay 10−4, clipping 1.0), 10 warm-up epochs then cosine decay [38], 300 epochs (pre-training 100 epochs at 1.5 × 10−4), batch 2, mixed precision; flips, intensity scaling/shift and Gaussian noise; crops centered on tumor with probability 0.66; best mean validation Dice per fold.

IV. EXPERIMENTAL SETUP

Data. BraTS 2021 [39]: 1,251 subjects, four co-registered skull-stripped sequences at 1 mm3; WT, TC and ET from the expert labels. A subject-level hold-out test set (15%, [TBD] subjects) is used once; the rest forms five folds shared by all models. Grading uses UCSF-PDGM [40] (WHO grade), which also serves as an external segmentation test set.

Baselines. 3D U-Net, SegResNet, UNETR, SwinUNETR (MONAI [41]) and nnU-Net v2, all re-trained on the same folds and preprocessing.

Metrics. Dice and HD95 per region (BraTS conventions for empty masks); AUC, balanced accuracy, sensitivity and specificity; voxel-level expected calibration error [42]; Spearman correlation of case uncertainty with 1 − Dice; parameters, MACs, latency and memory on [TBD: GPU]. Mean ± SD, 95% bootstrap intervals, Wilcoxon tests with Holm correction. Reporting follows CLAIM [43]. Implementation: PyTorch [44], PyTorch Lightning [45].

V. RESULTS

TABLE I

Segmentation on the BraTS 2021 Hold-Out Test Set ([TBD] Subjects), Mean ± SD

| Method | Dice ↑ |  |  | HD95 (mm) ↓ |  |  | Params (M) | GMACs | Latency (ms) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WT | TC | ET | WT | TC | ET |  |  |  |
| 3D U-Net [6] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| SegResNet [15] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| UNETR [17] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| SwinUNETR [18] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| nnU-Net v2 [16] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |
| BrainHybridNet | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |

TABLE II

Detection (BraTS Crops) and Grading (UCSF-PDGM)

|  | Det. AUC | Sens. | Spec. | Grade AUC | Grade BA |
| --- | --- | --- | --- | --- | --- |
| BrainHybridNet | [TBD] | [TBD] | [TBD] | [TBD] | [TBD] |

Segmentation. Table I; significance versus the strongest baseline: [TBD]. Five-fold cross-validation: [TBD].

Detection and grading. Table II.

Calibration and uncertainty. [TBD: ECE with/without Monte Carlo dropout; Spearman ρ and p].

External validation. [TBD: UCSF-PDGM without retraining].

TABLE III

Ablations (5-Fold Cross-Validation, Dice)

| Configuration | WT | TC | ET | Params |
| --- | --- | --- | --- | --- |
| CNN only | [TBD] | [TBD] | [TBD] | [TBD] |
| No CNN skips | [TBD] | [TBD] | [TBD] | [TBD] |
| No sequence attention | [TBD] | [TBD] | [TBD] | [TBD] |
| Segmentation only | [TBD] | [TBD] | [TBD] | [TBD] |
| No pre-training | [TBD] | [TBD] | [TBD] | [TBD] |
| Full model | [TBD] | [TBD] | [TBD] | [TBD] |

Ablations. Table III; masking ratio, depth and loss-weight sensitivity: [TBD].

VI. DISCUSSION

[TBD: interpret only the measured results: where the hybrid helps, the effect of pre-training with 10%/25% labels, whether uncertainty tracks error, attention-map overlap].

Limitations. External validation is limited to [TBD]; grading ignores molecular markers [31]; pre-training uses only BraTS training folds; detection is evaluated on crops, not healthy scans; reference labels vary between raters [4].

VII. CONCLUSION

BrainHybridNet jointly segments, detects and grades brain tumors with a compact hybrid encoder, masked-image-modeling pre-training and uncertainty estimates. [TBD: one-sentence measured summary]. Code, splits and weights: https://github.com/Debobrato06/BrainTumorDetection [TBD: release tag].

ACKNOWLEDGMENT

[TBD: or remove].

DATA AVAILABILITY

BraTS 2021 (https://www.synapse.org/#!Synapse:syn27046444) and UCSF-PDGM (The Cancer Imaging Archive) are public; this study used only these de-identified datasets, so no ethics approval was required.

REFERENCES

[1]	R. Stupp, W. P. Mason, M. J. van den Bent et al., “Radiotherapy plus concomitant and adjuvant temozolomide for glioblastoma,” New England Journal of Medicine, vol. 352, no. 10, pp. 987–996, 2005, doi: 10.1056/NEJMoa043330.

[2]	H. Sung, J. Ferlay, R. L. Siegel et al., “Global cancer statistics 2020: GLOBOCAN estimates of incidence and mortality worldwide for 36 cancers in 185 countries,” CA: A Cancer Journal for Clinicians, vol. 71, no. 3, pp. 209–249, 2021, doi: 10.3322/caac.21660.

[3]	N. Gordillo, E. Montseny, and P. Sobrevilla, “State of the art survey on MRI brain tumor segmentation,” Magnetic Resonance Imaging, vol. 31, no. 8, pp. 1426–1438, 2013, doi: 10.1016/j.mri.2013.05.002.

[4]	B. H. Menze, A. Jakab, S. Bauer et al., “The multimodal brain tumor image segmentation benchmark (BRATS),” IEEE Transactions on Medical Imaging, vol. 34, no. 10, pp. 1993–2024, 2015, doi: 10.1109/TMI.2014.2377694.

[5]	O. Ronneberger, P. Fischer, and T. Brox, “U-Net: Convolutional networks for biomedical image segmentation,” in Medical Image Computing and Computer-Assisted Intervention – MICCAI 2015, LNCS vol. 9351, pp. 234–241, 2015, doi: 10.1007/978-3-319-24574-4_28.

[6]	Ö. Çiçek, A. Abdulkadir, S. S. Lienkamp, T. Brox, and O. Ronneberger, “3D U-Net: Learning dense volumetric segmentation from sparse annotation,” in Medical Image Computing and Computer-Assisted Intervention – MICCAI 2016, LNCS vol. 9901, pp. 424–432, 2016, doi: 10.1007/978-3-319-46723-8_49.

[7]	A. Vaswani, N. Shazeer, N. Parmar et al., “Attention is all you need,” in Advances in Neural Information Processing Systems (NeurIPS), 2017, arXiv:1706.03762.

[8]	A. Dosovitskiy, L. Beyer, A. Kolesnikov et al., “An image is worth 16x16 words: Transformers for image recognition at scale,” in International Conference on Learning Representations (ICLR), 2021, arXiv:2010.11929.

[9]	J. Chen, Y. Lu, Q. Yu et al., “TransUNet: Transformers make strong encoders for medical image segmentation,” 2021, arXiv:2102.04306.

[10]	W. Wang, C. Chen, M. Ding et al., “TransBTS: Multimodal brain tumor segmentation using transformer,” in Medical Image Computing and Computer-Assisted Intervention – MICCAI 2021, LNCS vol. 12901, pp. 109–119, 2021, doi: 10.1007/978-3-030-87193-2_11.

[11]	Y. Wu, K. Liao, J. Chen, J. Wang, D. Z. Chen, H. Gao, and J. Wu, “D-Former: A U-shaped dilated transformer for 3D medical image segmentation,” Neural Computing and Applications, vol. 35, pp. 1931–1944, 2023, doi: 10.1007/s00521-022-07859-1.

[12]	Y. Gal and Z. Ghahramani, “Dropout as a Bayesian approximation: Representing model uncertainty in deep learning,” in Proceedings of the 33rd International Conference on Machine Learning (ICML), pp. 1050–1059, 2016, arXiv:1506.02142.

[13]	J. Ker, L. Wang, J. Rao, and T. Lim, “Deep learning applications in medical image analysis,” IEEE Access, vol. 6, pp. 9375–9389, 2018, doi: 10.1109/ACCESS.2017.2788044.

[14]	L. Zhou, H. Liu, J. Bae, J. He, D. Samaras, and P. Prasanna, “Self pre-training with masked autoencoders for medical image classification and segmentation,” in IEEE 20th International Symposium on Biomedical Imaging (ISBI), 2023, arXiv:2203.05573.

[15]	A. Myronenko, “3D MRI brain tumor segmentation using autoencoder regularization,” in Brainlesion: Glioma, Multiple Sclerosis, Stroke and Traumatic Brain Injuries (BrainLes 2018), LNCS vol. 11384, pp. 311–320, 2019, doi: 10.1007/978-3-030-11726-9_28.

[16]	F. Isensee, P. F. Jaeger, S. A. A. Kohl, J. Petersen, and K. H. Maier-Hein, “nnU-Net: a self-configuring method for deep learning-based biomedical image segmentation,” Nature Methods, vol. 18, no. 2, pp. 203–211, 2021, doi: 10.1038/s41592-020-01008-z.

[17]	A. Hatamizadeh, Y. Tang, V. Nath et al., “UNETR: Transformers for 3D medical image segmentation,” in Proceedings of the IEEE/CVF Winter Conference on Applications of Computer Vision (WACV), pp. 574–584, 2022, arXiv:2103.10504.

[18]	Y. Tang, D. Yang, W. Li et al., “Self-supervised pre-training of Swin transformers for 3D medical image analysis,” in Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 20730–20740, 2022, arXiv:2111.14791.

[19]	Z. Liu, Y. Lin, Y. Cao et al., “Swin Transformer: Hierarchical vision transformer using shifted windows,” in Proceedings of the IEEE/CVF International Conference on Computer Vision (ICCV), pp. 10012–10022, 2021, arXiv:2103.14030.

[20]	J. M. J. Valanarasu, P. Oza, I. Hacihaliloglu, and V. M. Patel, “Medical Transformer: Gated axial-attention for medical image segmentation,” in Medical Image Computing and Computer-Assisted Intervention – MICCAI 2021, LNCS vol. 12901, pp. 36–46, 2021, doi: 10.1007/978-3-030-87193-2_4.

[21]	H. Wang, P. Cao, J. Wang, and O. R. Zaiane, “UCTransNet: Rethinking the skip connections in U-Net from a channel-wise perspective with transformer,” in Proceedings of the AAAI Conference on Artificial Intelligence, pp. 2441–2449, 2022, doi: 10.1609/aaai.v36i3.20144.

[22]	T. Chen, S. Kornblith, M. Norouzi, and G. Hinton, “A simple framework for contrastive learning of visual representations,” in Proceedings of the 37th International Conference on Machine Learning (ICML), pp. 1597–1607, 2020, arXiv:2002.05709.

[23]	M. Caron, H. Touvron, I. Misra et al., “Emerging properties in self-supervised vision transformers,” in Proceedings of the IEEE/CVF International Conference on Computer Vision (ICCV), pp. 9650–9660, 2021, arXiv:2104.14294.

[24]	H. Sowrirajan, J. Yang, A. Y. Ng, and P. Rajpurkar, “MoCo-CXR: MoCo pretraining improves representation and transferability of chest X-ray models,” 2021, arXiv:2010.05352.

[25]	K. He, X. Chen, S. Xie et al., “Masked autoencoders are scalable vision learners,” in Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 16000–16009, 2022, arXiv:2111.06377.

[26]	Z. Xie, Z. Zhang, Y. Cao et al., “SimMIM: A simple framework for masked image modeling,” in Proceedings of the IEEE/CVF Conference on Computer Vision and Pattern Recognition (CVPR), pp. 9653–9663, 2022, arXiv:2111.09886.

[27]	R. M. Neal, Bayesian Learning for Neural Networks. New York: Springer, 1996, doi: 10.1007/978-1-4612-0745-0.

[28]	B. Lakshminarayanan, A. Pritzel, and C. Blundell, “Simple and scalable predictive uncertainty estimation using deep ensembles,” in Advances in Neural Information Processing Systems (NeurIPS), 2017, arXiv:1612.01474.

[29]	T. Nair, D. Precup, D. L. Arnold, and T. Arbel, “Exploring uncertainty measures in deep networks for multiple sclerosis lesion detection and segmentation,” Medical Image Analysis, vol. 59, pp. 101557, 2020, doi: 10.1016/j.media.2019.101557.

[30]	A. G. Roy, S. Conjeti, N. Navab, and C. Wachinger, “Inherent brain segmentation quality control from fully ConvNet Monte Carlo sampling,” in Medical Image Computing and Computer-Assisted Intervention – MICCAI 2018, LNCS vol. 11070, pp. 664–672, 2018, doi: 10.1007/978-3-030-00928-1_75.

[31]	D. N. Louis, A. Perry, P. Wesseling et al., “The 2021 WHO classification of tumors of the central nervous system: a summary,” Neuro-Oncology, vol. 23, no. 8, pp. 1231–1251, 2021, doi: 10.1093/neuonc/noab106.

[32]	M. Zhou, J. Scott, B. Chaudhury et al., “Radiomics in brain tumor: image assessment, quantitative feature descriptors, and machine-learning approaches,” American Journal of Neuroradiology, vol. 39, no. 2, pp. 208–216, 2018, doi: 10.3174/ajnr.A5391.

[33]	K. Chang, H. X. Bai, H. Zhou et al., “Residual convolutional neural network for the determination of IDH status in low- and high-grade gliomas from MR imaging,” Clinical Cancer Research, vol. 24, no. 5, pp. 1073–1081, 2018, doi: 10.1158/1078-0432.CCR-17-2236.

[34]	D. Hendrycks and K. Gimpel, “Gaussian error linear units (GELUs),” 2016, arXiv:1606.08415.

[35]	J. L. Ba, J. R. Kiros, and G. E. Hinton, “Layer normalization,” 2016, arXiv:1607.06450.

[36]	S. S. M. Salehi, D. Erdogmus, and A. Gholipour, “Tversky loss function for image segmentation using 3D fully convolutional deep networks,” in Machine Learning in Medical Imaging (MLMI 2017), LNCS vol. 10541, pp. 379–387, 2017, doi: 10.1007/978-3-319-67389-9_44.

[37]	I. Loshchilov and F. Hutter, “Decoupled weight decay regularization,” in International Conference on Learning Representations (ICLR), 2019, arXiv:1711.05101.

[38]	I. Loshchilov and F. Hutter, “SGDR: Stochastic gradient descent with warm restarts,” in International Conference on Learning Representations (ICLR), 2017, arXiv:1608.03983.

[39]	U. Baid, S. Ghodasara, S. Mohan et al., “The RSNA-ASNR-MICCAI BraTS 2021 benchmark on brain tumor segmentation and radiogenomic classification,” 2021, arXiv:2107.02314.

[40]	E. Calabrese, J. E. Villanueva-Meyer, J. D. Rudie et al., “The University of California San Francisco preoperative diffuse glioma MRI dataset,” Radiology: Artificial Intelligence, vol. 4, no. 6, pp. e220058, 2022, doi: 10.1148/ryai.220058.

[41]	M. J. Cardoso, W. Li, R. Brown et al., “MONAI: An open-source framework for deep learning in healthcare,” 2022, arXiv:2211.02701.

[42]	C. Guo, G. Pleiss, Y. Sun, and K. Q. Weinberger, “On calibration of modern neural networks,” in Proceedings of the 34th International Conference on Machine Learning (ICML), pp. 1321–1330, 2017, arXiv:1706.04599.

[43]	J. Mongan, L. Moy, and C. E. Kahn, “Checklist for Artificial Intelligence in Medical Imaging (CLAIM): a guide for authors and reviewers,” Radiology: Artificial Intelligence, vol. 2, no. 2, pp. e200029, 2020, doi: 10.1148/ryai.2020200029.

[44]	A. Paszke, S. Gross, F. Massa et al., “PyTorch: An imperative style, high-performance deep learning library,” in Advances in Neural Information Processing Systems (NeurIPS), 2019, arXiv:1912.01703.

[45]	W. Falcon and The PyTorch Lightning team, “PyTorch Lightning,” 2019, https://github.com/Lightning-AI/pytorch-lightning.